Lesion masking in isotropic FLAIR
the first step towards standard-space registration with pathologies

Problem description:
Lesion to symptom mapping requires the registration of many cases to a standard-space. Registering the sequences of a pathological case to a standard-space atlas has to deal with the problem of non-existent correspondences between the pathological area and the atlas, which was created by averaging healthy subjects. The missing correspondence can easily cause the registration algorithm to fail, especially in the case of large lesions.
The common approach to deal with problem is to manually segment the pathologies in the original MR sequences and then conducting the registration with the lesion area masked out. The manual segmentation is tedious, time-consuming and prone to inter- & intra-observer errors.

Approach:
The masks for the registration procedure are not required to be highly accurate. All WMH should be segmented, possibly with a security margin of a few mm. The larger the regions, the more important the masking out. Small false-positives might be acceptable.

Under this assumption, we first re-sample the considered sequence (FLAIR) to isotropic space at medium resolution (2x2x2mm) to account for spacing difference between different image sources. This resolution is sufficient for the purpose.
Using Random Decision Forest (RDF) to classify all voxels as white matter hyper-intensity (WMH) or remaining tissue, the pathologies in the sequence are segmented. Small (< 4ml) binary objects are removed from the segmentation results as 1. most lesions are considerable larger and 2. WMH of a size < 4ml are not considered to disturb the registration process significantly.

Research questions:
- Is the FLAIR sequence alone sufficient for creating a registration masking?
- Should the FLAIR be re-sampled to isotropic spacing? And if yes, which resolution would be most suitable?
- Which feature-combination is the most suitable?
- Which training set size would be the most suitable?
- How does the pre-processing influence the outcome?
- Which post-processing steps are most suitable.

- Does the segmentation quality correlate with the lesion size?
- Does the segmentation quality correlate with the NIH SS?
- Does the segmentation quality correlate with the time since stroke (TSS) onset?
- Is the method robust against enclosed haemorrhages?
- Is the method robust against image quality?

How does the registration results compare to the ones obtained using the ground-truth as registration mask?

How is the performance, when only cases \wo other WMHs are considered?

Evaluation:
We consider two evaluation set-ups.
1. First, there is the evaluation by comparing the binary segmentations of the RDF and the ground truth with different metrics. These measures give us an idea of segmentation accuracy of the RDF.
2. Secondly, we evaluate the registration outcome, since the segmentation quality does no necessarily coincides with the quality of the subsequent registration. We can compare here:
1. The global average SSD between the registration results achieved using the ground truth and using the RDF segmentation
2. The average SSD under the ground-truth mask between the registration results achieved using the ground truth and using the RDF segmentation
Experimental set-ups:

EXP01: Tuning
Using evaluation method A), we compare different feature selections, pre-processing and post-processing steps as well as re-sampling settings in circular optimization fashion:

1. Different feature sets
2. Different training set sizes
3. Different post-processing
4. Different pre-processing
5. Different re-sampling settings
6. Different RDF parameters
7. Repetitions of the best sampling set sizes

Until the quality converges towards a final value.

EXP02: Statistical correlations
Compare the tuned results statistically with the various characteristics available for the cases:
1. Rank correlation to lesion size
2. Rank correlation to NIH SS
3. Rank correlation to TSS
4. Influence of haemorrhage presence
5. Influence of (FLAIR) image quality

EXP03: Registration
Using evaluation method B), the tuned pipeline is evaluated for its performance in the registration procedure.

EXP04: Clean data performance
The available ground truth only concerns (recent) stroke lesions and does not include other WMHs. This can be considered a disadvantageous for our method, as the registration procedures requires all WMHs to be masked out, a fact not reflected in the training set. The last evaluation is therefore performed using only cases, where the segmented lesion is the only present WMH. The such obtained results are compared against the previous ones (both for evaluation method A) and B)).

Each experiment has dedicated files (expXX*) containing further details.

Experimental results:

EXP01: Tuning

a) Different feature sets
Settings:
40 cases, sequences: flair, isotropic 2³, skull-strip, no bias-field removal, intensity normalization, sample size 250k, stratified random sampling, no post-processing
Results for various features and feature combinations:
LesionMaskingInIsotropicFlair_exp01a.ods contains the average results for every experiment. The respective image-wise results can be found in the logs/eval.pre.flair.[features].log files.

Features	Average DM	Average HD	Average ASSD
All + 2d CD in all 3 dimension	0.61	47.57	8.23
All (= all mentioned below)	0.53	53.09	10.90
Lh (11bins,10mm) + (11,20) + (11,30)	0.48	58.23	11.50
Lh (11bins,20mm)	0.42	71.36	12.52
Lmg (3) + (5) + (7)	0.38	82.09	14.69
Lh (11bins,30mm)	0.38	82.09	14.69
Intcd + lmg (3) + lh (11bins,10mm)	0.36	77.60	14.95
Lh (11bins,10mm)	0.30	86.61	14.49
Lmg (7)	0.30	93.29	16.24
Lmg (5)	0.27	93.28	16.49
Lmg (3)	0.22	94.03	13.25
Median (7)	0.18	94.28	18.63
Intensity	0.14	95.26	19.31
Ggm (5)	0.05	94.77	19.60

Interpretation:
Features that represent regional averages (e.g. lmg 7) are clearly advantageous above voxel-wise features such as the intensity or small kernel lmg. That means that the input images are too noisy respectively the lesion areas to inhomogeneous to be identified by the intensity value alone.

Considering a too large area, as for lh 11,30 lowers the precision again, here a balance, such as achieved for lh 11,20 must be sought. Too large regions (i.e. too much smoothing) will remove the details.

Lh is generally pretty good. Intensity alone is far from good.
A combination of large-area and small area features gives the best results, as the RDF takes care of redundant information.

Adding the 2d centre distance once for each dimension improves the results significantly. This can be due to the numerous false-positive in the upper skull region and the neck, which are cause by the insufficient skull-stripping.

Visual examination:
Features: All + 2d CD in all 3 dimension
Of the 38 cases, 4 were deemed bad, 12 acceptable and 22 good. The bad cases are: 20, 22, 25, and 37. The main observed problems were:
a) leakage into the skull plate or other parts of the skull (see lesions with high HD values)
b) leakage into the cerebellum (see lesions with high HD values)
c) segmentation of old brain lesions (see among cases in the 40's)
d) a tendency to under-segment, especially where the lesion is touching the skull (see large lesions)
e) a failure to segment lesion whose intensity range differs from the usual (see especially case 20)

Feature to test for next cycle:
  - non-local means (nlm)
  - lmg (7) + lh (11bin,20mm) + 2d CD in all 3 dimension (+nlm if good)
  - all + 2d CD in all 3 dimensions (+nlm if good)

Conclusion:
A follow up registration to a flair MNI std brain using the best feature set (All + 2d CD in all 3 dimension) showed surprisingly good performance. 7 Cases were found to have a slightly tilted mid-line (10,13,20,26,29,30,40,41) , one a denting in in the upper right quarter (13) and one failed completely, showing only a black image (31).

Generally favourable results, as especially the large lesions are well detected, which serves our purpose of masking them out during the registration to the MNI brain. The false-positives in the upper skull, the neck and the cerebellum are a problem, largely caused by the insufficient skull-stripping. But they do not seem to disturb the subsequent registration step to much.

Segmentation sufficient for the purpose, but not for any real lesion detection task.

c) Different post-processing
Settings:
40 cases, sequences: flair, isotropic 2³, skull-strip, no bias-field removal, intensity normalization, sample size 250k, stratified random sampling, no post-processing
Methods:
The only reasonable post-processing seems to be the removal of small false-positives, which will result mainly in a gain for the HD values. The smallest lesion is 4ml in volume, therefore we can only apply thresholds lower than this value.
Results of different threshold sizes:
1ml = 1000mm³
Threshold	Gain/Loss
<250mm³	Gain +
<500mm³	Gain ++
<750mm³	Gain +++
<1000mm³	Loss -
<2000mm³	Loss --

Features	Average DM	Average HD	Average ASSD
\wo post-processing	0.5942	45.00	8.04
\w post-processing	0.5947	36.50	7.86

Conclusion:
A threshold near the smallest lesion volume does not improve the results, as many lesions are under-segmented. But a small threshold improves the results slightly, due to the removal of very small false-positives. As expected, the gain is mainly in the HD metric.

To test in next cycle:
This setting does not have to be changed any more, as no significant further improvement is expected.

f) Different RDF parameters
Settings:
40 cases, sequences: flair, isotropic 2³, skull-strip, no bias-field removal, intensity normalization, sample size 250k, stratified random sampling, p-processing: < 750
Methods:
Michael Götz, from the DKFZ, mentioned that a limited tree depth lead to better results in his case. I will try a number of settings and also check the size of thre resulting tree on the disk.
Results:
Depth limit	Average DM	Average HD	Average ASSD	Forest size (MB)
None	0.59	36.50	7.86	~550MB
2000	0.62	36.95	7.12	~620MB
1500	0.62	36.33	7.10	~620MB
1000	0.62	36.35	7.14	~620MB
500	0.62	35.59	6.98	~620MB
500 (2nd run)	0.62	36.43	7.08	~620MB
100	0.62	36.48	7.23	~700MB
75	0.62	36.22	7.13	~620MB
50	0.62	34.35	7.04	~620MB
25	0.62	35.10	7.07	~620MB
10	0.57	34.67	7.74	~250MB
5	failed	failed	failed	failed

Conclusion:
The maximum tree depth seems to have only little effect on the classification accuracy. Even shallow trees of only 25 levels are reaching near-optimal results. We can therefore assume, that in most cases the trees do not grow deeper than this. This assumption is supported by the practically stationary forest size. The slight gain visible when restricting the tree depth can be attributed to a few special cases, for which an over-fitting takes place. Therefore restricting the tree depth is sensible, we chose the value 50, which has ample security margins towards the border-values 10 and None.

To test in next cycle:
This setting does not have to be changed any more, as no significant further improvement is expected.

g) Different training set sizes
Settings:
40 cases, sequences: flair, isotropic 2³, skull-strip, no bias-field removal, intensity normalization, tree-depth: 500, stratified random sampling, p-processing: < 750
Methods:
The training set size could influence the classification accuracy as well as the forest size. With 250k samples, I've fared well since now. But it might be advisable to in- or decrease the amount. Note that 250k sample means 6250 samples / case on average.
Results:
Sample size	Average DM	Average HD	Average ASSD	Forest size (MB)
2000k
1000k	0.63	37.94	7.12	~2100MB
500k	0.62	36.53	7.13	~1200MB
400k	0.62	38.07	7.18	~950MB
300k	0.62	44.61	7.23	~720MB
300k (2nd run)	0.62	45.79	7.37
250k	0.62	36.43	7.08	~620MB
250k (2nd run)	0.62	35.87	7.15
200k (min-sample=4)	0.61	37.71	7.38	~570MB
150k (min sample=3)	0.61	36.65	7.34	~390MB
100k (min sample=2)	0.61	44.19	7.39	~270MB
50k (min sample=1)	0.60	42.60	7.42	~150MB
25k (min sample=0)	0.59	43.39	7.66
10k (min sample=0)	0.56	38.44	8.11	~35MB

Paired t-test were performed to obtain the statistical significance of the differences in score between the various runs (at 5, p<0.05). We ignore the HD, as its value is most sensitive to outliers and can differ strongly depending on the sample set. Instead, we compare the ASSD values to select the most suitable sample set size.
We compare the very large (and therefore presumably robust) set of 500k, the previous standard size 250k and the new candidate 150k against some other sample set sizes.
Sample 1	Sample 2	Abs. ASSD difference	t-value	p-value	Significant at p<0.05
500k	10k	0.98	-2.059	0.047	yes
500k	25k	0.53	-1.940	0.060	no
500k	50k	0.29	-1.708	0.096	no
500k	200k	0.25	-1.536	0.133	no
500k	250k	0.06	0.286	0.776	no
500k	2000k
250k	2000k
250k	1000k	0.10	-0.667	0.509	no
250k	500k	0.06	-0.286	0.776	no
250k	400k
250k	300k	0.15	-0.871	0.389	no
250k	200k	0.30	-1.858	0.071	no
250k	150k	0.31	-2.620	0.013	yes
250k	100k	0.31	-1.589	0.121	no
250k	50k	0.34	-2.976	0.005	yes
250k	25k	0.58	-3.808	0.001	yes
250k	10k	1.03	-2.846	0.007	yes
150k	2000k
150k	1000k	0.21	1.092	0.282	no
150k	500k	0.25	0.961	0.343	no
150k	400k
150k	300k	0.16	0.626	0.535	no
150k	250k	0.31	2.620	0.013	yes
150k	200k	0.01	0.034	0.973	no
150k	100k	0.00	0.003	0.998	no
150k	50k	0.04	-0.182	0.856	no
150k	25k	0.27	-1.529	0.135	no
150k	10k	0.72	-2.369	0.023	yes

Interpretation:
Taking 500k as baseline, it becomes obvious, that the results obtained with different sampling sizes do not differ significantly from the baseline. Only when reaching as low as 10k samples, a significant difference in ASSD can be observed.
Considering the previous standard size 250k as baseline, we can make similar observations. The results obtained do not differ significantly from using larger sample sizes. Towards the lower end, a significant difference can be observed as early as using 150k samples (which might be an outlier) and then consistently when dropping below 100k.
The new candidate 150k as sample size compares to the higher sampling sizes without any significant difference (here: loss in accuracy). The same goes for lower sampling sizes up to 10k (here: gain). Only outlier is the 250k sampling size, which strangely leads to a significant better result.
The question arise, whether with different tree parameters (such as maximum tree-depth) the observations would hold. I won't check this, as there has to be some point where to stop and I do not assume that it will make any great difference, considering the tree-depth results from the previous experiments.

Conclusion:
The old standard 250k is a good candidate and might even perform significantly better than lower sample set sizes. Alternatively, a sample set of 150k could be used, which holds the advantage of lower training time requirements and smaller resulting forests.

To test furthermore:
The results can vary between the runs, due to the random sampling. This can account for the significant better results for the 250k sampling size. I therefore will have to repeatedly run the pipeline with sample sizes 250k (the best setting) and 150k (the new candidate). Then I have to check, whether there are significant differences between the different runs of the same sample size and between the different sample sizes.

To test in next cycle:
This setting does not have to be changed any more, as no significant further improvement is expected.

c) Repetitions of the best sampling set sizes
Settings:
40 cases, sequences: flair, isotropic 2³, skull-strip, no bias-field removal, intensity normalization, tree-depth: 500, stratified random sampling, p-processing: < 750
Methods:
The previous results have shown a sampling size of 250k to be sometimes significant better than other sizes, while 150k emerged as a good balance candidate between resulting score and time/memory/disk-space requirements. We therefore make repeated runs of these two settings and evaluate, if there are significant inter-run or intra-run differences.
Results:
Sample size	Average DM	Average HD	Average ASSD
250k I	0.62	36.43	7.08
250k II	0.62	35.87	7.15
250k III	0.62	38.24	7.46
250k IV	0.62	43.70	7.33
250k V	0.62	35.17	7.02
250k VI	0.59	35.73	8.21
150k I	0.61	36.65	7.34
150k II	0.61	43.34	7.49
150k III	0.62	43.40	7.29
150k IV	0.62	34.36	7.13
150k V	0.61	42.24	7.33

The following significance test (using paired t-test) shows only the most significant difference between the different runs according to the p-value (i.e. where to lowest p-value has been observed).
Sample 1	Sample 2	Abs. ASSD difference	t-value	p-value	Significant at p<0.05
250k_r4	250k_r5	0.319	2.423	0.020	Yes (totally in 4 combinations)
150k_r1	150k_r4	0.252	2.050	0.048	Yes (totally in 1 combination)
250k_r2	150k_r1	0.241	-2.771	0.009	Yes (totally in 5 combinations)

Interpretation:
Significant differences in the mean ASSD values could be observed for repeated samplings of both, 250k and 150k sample sizes. This is unfortunate, as it means, that the sampling strategy is not as robust as imagined. I might have to consider using larger sampling sizes to avoid this variance.
Using 250k instead of 150k samples lead to significant better ASSD values in 5 of the (5*6=) 30 combinations. Therefore using only 150k samplings would lead to possibly a significant worse ASSD result.
Conclusion:
Continue using a sample size of 250k for now. But I will have to keep in mind, that any non-significance or significance established during other experiments might be caused by the sampling instead of the investigated mechanism.

To test in next cycle:
Investigate the variance of larger sampling sizes on repeated samplings. Determine the threshold sampling size at which no significant variance occurs.

c) Different pre-processing
Settings:
40 cases, sequences: flair, isotropic 2³, skull-strip, sample size 250k, stratified random sampling, no post-processing, p-processing: < 750
Methods:
Evaluate the influence of bias-field correction and intensity normalization on the outcome.
Results:
Run	Bias-field correction	Intensity range standardization	Average DM	Average HD	Average ASSD
01		X	0.62	36.43	7.08
02		X	0.62	35.87	7.15
03		X	0.62	38.24	7.46
01	X
02	X
03	X
01	X	X
02	X	X
03	X	X
01
02
03